## Sheet1
Perioperative Team Member Roles During a Fire
Each perioperative area should have designated fire response teams with defined responsibilities to fulfill if a fire occurs in the perioperative area. A chain of command that includes the title of the person who has the authority to manage the event should be in place and can fall under the organization's internal disaster plan. The roles and responsibilities will vary depending on the size of the facility and number of people present in the area when the event occurs. Many of the tasks for managing a fire are performed simultaneously, and all members of the team should be aware of other members' tasks so they can assist as needed.
These tables are intended to be used to assign members of the perioperative team to role-based tasks for managing a fire in the OR and can be included as part of the organization's perioperative fire safety plan. The tables address the four most common types of fires that occur in the perioperative area and identify generic titles for the perioperative team member roles. The tasks and titles may be changed to be specific to the facility. Use checkmarks to indicate which tasks are appropriate for each perioperative team member role. At a minimum, the team will likely consist of the surgeon, anesthesia professional, scrub person, and RN circulator.
Table 1 | RN circulator | Scrub person | Anesthesia professional | Surgeon | Charge RN | Support personnel | First assistant | Supervising anesthesia professional | Anesthesia assistant | Administrative personnel
Small Patient Fire (Non-Airway)
Task
Alert team members to the presence of a fire.
Stop the flow of airway gases to the patient.
Smother or extinguish the fire with an appropriate method (eg, aqueous solution, towel).
Remove burning materials from the patient.
Assess for secondary fire on underlying drapes or towels.
Assess the patient for injuries.
Push the sterile instrument table away from the sterile field.
Activate the fire alarm system.
Notify the chain of command per facility policy.
Notify the fire department.
Act as the liaison to the patient's family members.
Delegate roles for non-direct caregivers.
Compile a list of all the people in the room to refer to in the event of evacuation.
Assist with decision to evacuate.
Order evacuation of the room.
Activate the disaster plan per facility policy.
Direct traffic (ie, direct fire response team or fire department personnel to the fire location).
Sequester and retain involved materials and supplies.
Document the event according to facility policy.
Table 2 | RN circulator | Scrub person | Anesthesia professional | Surgeon | Charge RN | Support personnel | First assistant | Supervising anesthesia professional | Anesthesia assistant | Administrative personnel
Large Patient Fire (Non-Airway)
Task
Alert team members to the presence of a fire.
Stop the flow of airway gases to the patient.
Smother or extinguish the fire with an appropriate method (eg, aqueous solution, towel).
Remove burning materials from the patient.
Assess for secondary fire on underlying drapes or towels.
Assess the patient for injuries.
Push the sterile instrument table away from the sterile field.
Shut off the oxygen supply to the room if indicated.
Activate the fire alarm system.
Notify the chain of command per facility policy.
Notify the fire department.
Act as the liaison to the patient's family members.
Delegate roles for non-direct caregivers.
Compile a list of all the people in the room to refer to in the event of evacuation.
Assist with decision to evacuate.
Order evacuation of the room.
Order evacuation of the surrounding area.
Communicate the need to evacuate to personnel in surrounding areas.
Activate the disaster plan per facility policy.
Direct traffic (ie, direct fire response team or fire department personnel to the fire location).
Sequester and retain involved materials and supplies.
Document the event according to facility policy.
Table 3 | RN circulator | Scrub person | Anesthesia professional | Surgeon | Charge RN | Support personnel | First assistant | Supervising anesthesia professional | Anesthesia assistant | Administrative personnel
Airway Fire
Task
Alert team members to the presence of a fire.
Stop the flow of airway gases to the patient.
Remove the endotracheal tube and any burned segments from the airway.
Disconnect and remove the breathing circuit.
Pour normal saline into the airway.
Examine the airway.
Re-establish the airway and resume ventilating the patient using room air until verifying nothing is burning in the airway, then switch to 100% oxygen.
Assess the patient for injuries.
Assess for secondary fire on underlying drapes or towels.
Activate the fire alarm system.
Notify the chain of command per facility policy.
Notify the fire department.
Act as the liaison to the patient's family members.
Delegate roles for non-direct caregivers.
Compile a list of all the people in the room to refer to in the event of evacuation.
Assist with decision to evacuate.
Order evacuation of the room.
Order evacuation of the surrounding area.
Communicate the need to evacuate to personnel in surrounding areas.
Activate the disaster plan per facility policy.
Direct traffic (ie, direct fire response team or fire department personnel to the fire location).
Sequester and retain involved materials and supplies.
Document the event according to facility policy.
Table 4 | RN circulator | Scrub person | Anesthesia professional | Surgeon | Charge RN | Support personnel | First assistant | Supervising anesthesia professional | Anesthesia assistant | Administrative personnel
Equipment Fire (Non-Patient)
Task
Alert team members to the presence of a fire.
Disconnect the involved equipment from its power source.
Remove the working end of the involved equipment from the sterile field.
Shut off electricity to the piece of equipment per facility policy if unable to disconnect from its power source.
Shut off gases to the involved equipment per facility policy, if applicable.
Remove involved equipment from the room, if safe to do so.
Extinguish the fire using the applicable extinguisher, if necessary.
Activate the fire alarm system.
Notify the chain of command per facility policy.
Notify the fire department.
Act as the liaison to the patient's family members.
Delegate roles for non-direct caregivers.
Compile a list of all the people in the room to refer to in the event of evacuation.
Assist with decision to evacuate.
Order evacuation of the room.
Order evacuation of the surrounding area.
Communicate the need to evacuate to personnel in surrounding areas.
Activate the disaster plan per facility policy.
Direct traffic (ie, direct the fire response team or fire department personnel to the fire location).
Sequester and retain involved materials and supplies.
Document the event according to facility policy.
Fire Safety